## Sheet1
Component / System | Priority
Cylinder Block | High
Emergency Shutdown System | High
Over-Speed Protection | High
High Coolant Temperature Shutdown | High
Low Oil Pressure Shutdown | High
Overload Protection | High
Paralleling Switchgear | High
Synchronization Panel | High
Digital Controller (KG 745 or similar) | High
Alternator | High
Particulate Filter | High
Exhaust Gas Recirculation (EGR) Valve | High
Selective Catalytic Reduction (SCR) System | High
Cam Sensor | High
Diesel Oxidation Catalyst (DOC) | High
Turbocharger | High
Starter Motor | High
Fuel Injectors | High
Common Rail Fuel Injection (CRDi) | High
Pistons | High
Piston Rings | High
Connecting Rods | High
Crankshaft | High
Camshaft | High
Cylinder Head | High
Rocker Arms | High
Valves (Intake & Exhaust) | High
Injector Bank 1 ( 6 Injector ) | High
Timing Gears/Timing Chain | High
Flywheel | High
Cylinder Liners | High
Crank Sensor | High
Battery Voltage Drop | High
Alternator Checks | High
Exhaust gas temperature Sensor T4 | High
Exhaust gas temperature Sensor T6 | High
Exhaust Leakage | High
Load Test | High
Differential Protection CT | High
Rail Pressure Sensor Bank A | High
Injector Bank 2 ( 6 Injector ) | High
BTD (Bearing Temperature Detector) | High
RTD (Resistance Temperature Detector) | High
EGR | High
Excitation Voltage | High
Rail pressure sensor | High
Push Rods | High
ECU | High
Engine Over Speed | High
DNOx System | High
Upstream Nox Sensor | High
Fuel Injector Bank 1 | High
Fuel Injector Bank 2 | High
ECU internal | High
Nox Upstream Sensor Bank A | High
Fuel Injector Bank 3 | High
Fuel Injector Bank 4 | High
Engine Oil Pressure Sensor | High
Fuel Metering valve | High
Injector | High
Injector-1 for (4 cylinder) | High
Injector-2 for (4 cylinder) | High
Injector-3 for (4 cylinder) | High
Injector-4 for (4 cylinder) | High
Injector Bank-1 (4 cylinder) | High
Air Filter | Moderate
Intercooler | Moderate
Air Intake Manifold | Moderate
Mass Air Flow (MAF) Sensor | Moderate
Diesel Exhaust Fluid (DEF) Tank | Moderate
NOx Sensor | Moderate
Battery Charger | Moderate
Battery | Moderate
Wiring Harness | Moderate
Load Sharing Module | Moderate
Battery Voltage Monitoring | Moderate
Thermostat | Moderate
Automatic Voltage Regulator (AVR) | Moderate
Coolant Reservoir | Moderate
Fuel Filters (Primary & Secondary) | Moderate
Water Pump | Moderate
Genset Remote Monitoring (GRM) | Moderate
Bus Duct | Moderate
Earthing Resistance | Moderate
Air Filter Restriction Indicator | Moderate
Heat Recovery System | Moderate
Cooling Fan | Moderate
Engine Mounts | Moderate
Fuel Tank | Moderate
Fuel Lines | Moderate
Fuel Pump | Moderate
Oil Dipstick | Moderate
Engine Oil | Moderate
Oil Pump | Moderate
Oil Filter | Moderate
Oil Cooler | Moderate
Radiator | Moderate
Intake Throttle Valve Bank A | Moderate
Water in fuel sensor Bank A | Moderate
Manifold Pressure and Temperature Sensor Bank A | Moderate
Engine Coolant temperature sensor | Moderate
Pressure relief valve | Moderate
Actutor relay | Moderate
Boost Pressure Sensor | Moderate
Water in fuel sensor | Moderate
Metering unit | Moderate
Adblue tank sensor Bank B | Moderate
Throttle Valve | Moderate
Supply Module Bank A | Moderate
Supply Module Bank B | Moderate
Water in fuel sensor Bank B | Moderate
Adblue tank sensor Bank A | Moderate
Supply Module | Moderate
Electrical Feed Pump | Moderate
Coolant temperature sensor | Moderate
Temperature Sensor T4 | Moderate
Temperature Sensor T6 | Moderate
Sensor Supply Monitoring | Moderate
Fuel Pressure/Temperature Sensor | Moderate
Adblue tank level sensor | Moderate
Fuel Pressure Regulator | Moderate
Power Factor | Low
Lifting Hooks | Low
Anti-Vibration Mounts | Low
Base Frame | Low
Soundproofing Insulation | Low
Acoustic Enclosure | Low
Hour Meter | Low
Fuel Level Sensor | Low
Frequency Meter | Low
Load Sensor | Low
Temperature Sensor | Low
Oil Pressure Sensor | Low
Voltage Meter | Low
Access Doors & Panels | Low
Belt Condition | Low
CAN | Low
Dosing Module | Low
CTM monitoring | Low
Audio actuator relay | Low
Sensor Supply | Low
Inducement | Low
Main relay | Low
Exhaust Piping Support | Low
Ambient Air Temperature | Low
Pressure relief valve Bank A | High
Oil temperature sensor | High
Exhaust Gas temprature T4 | High
Exhaust Gas Temprature T6 | High
Exhaust Gas Temprature T7 | High
Exhaust Gas Temprature T8 | High
Dosing Valve | High
Intake Throttle Valve Bank B | Moderate
Intake Throttle Valve Bank A | Moderate
Engine Intake Manifold #1 Pressure | High
Engine Intake Manifold 1 Temperature | Moderate
Boost Pressure Sensor | High